091206T4PTT

# PERIOPERATIVE THEATRE TECHNOLOGY LEVEL 6

# HE/OS/TT/CR/03/6/A

MAINTAIN OPERATION THEATRE INSTRUMENTS AND APPARATUS

March. /April. 2023

THE KENYA NATIONAL EXAMINATIONS COUNCIL

WRITTEN ASSESSMENT

Time: 3 hours

## INSTRUCTIONS TO CANDIDATES

Maximum marks for each question are indicated in brackets ( ).

This paper consists of TWO sections: A and B.

Answer questions as per instructions in each section.

You are provided with a separate answer booklet.

Candidates must answer the question in English.

This paper consists of THREE (3) printed pages

Candidates should check the question paper to ascertain that all pages are printed as indicated and that no questions are missing.

©2023 The Kenya National Examination Council

SECTION A (40 MARKS)

Answer all the questions in this section by writing down your response’s booklet provided.

- A theatre technologist is about to doff personal protective equipment (PPE) after being involved in a surgical operation. Outline the steps followed to safely remove the PPE.												(4 Marks)

- Hemostatic forceps is one of the instruments in a major set. List TWO examples of hemostatic forceps.								(2 Marks)

- A perioperative theatre technologist is expected to inspect scissors before processing for the next use. Identify FOUR (4) characteristics to be inspected for.		(4 Marks)

- You are packing a laparotomy set for sterilization. State any FOUR general requirements of the autoclave tape that you will use.						(4 Marks)

- Assume you are inspecting the functionality of instruments and you notice that a few are not functioning well. State TWO (2) reasons why you should hand over the non-functioning instruments to the maintenance team.				(2 Marks)

- For proper waste segregation one must understand the various categories of biomedical waste. Identify THREE sources of waste with high content of heavy metals in operating theatre.										(3 Marks)

- You are preparing to disassemble instruments and apparatus; mention THREE (3) protective gears you will don before the task.					(3 Marks)

- Imagine you are the theatre technologist assigned at the theatre sterile service department and you notice that some packs are wet after sterilization. State FOUR possible causes of wet packs.										(4 Marks)

- Maintaining instrument storage records is one of your roles as a theatre technologist. Highlight FOUR (4) reasons for maintaining the instrument storage records in the CSSD.											(4 Marks)

- In sequence, outline FIVE (5) stages of steam sterilization.  			(5 Marks)

- State the importance of the following equipment in theatre.			(5 Marks)

- Refrigerator

- Oxygen concentrator

- Fluid warmer

- Stools

- Operating torniquet

SECTION B (60 MARKS)

(This section has four questions, answer any THREE (3) questions)

- Before an instrument can be used, a whole range of measures must be taken to 
prevent it from being a danger to the patient.

- State any FIVE functions of the central sterile supplies department (CSSD).

(5 Marks)

- Using a flow chart, explain the flow of instruments through the central sterile supplies department (CSSD).								(15 Marks)

- A theatre technologist is helping prepare operating room for upcoming surgery in the next 30 minutes. S/he is checking the functionality of the diathermy machine.

- Distinguish between monopolar and bipolar diathermy.			(2 Marks)

- State FOUR uses of diathermy during surgery. 				(4 Marks)

- State FOUR risks and complications of electro-surgery.			(4 Marks)

- Describe TEN precautionary measures in the use of diathermy. 		(10 Marks)

- In operating theatre sterility is critical especially for items and instruments that come into contact with the patient. For quality assurance purpose, sterility test is conducted periodically.

- Discuss THREE methods of sterility test.					(6 Marks)

- Discuss SEVEN guidelines for storage of packs and sets.			(14 Marks)

- All theatre instruments that are used during surgery are decontaminated and processed through different methods so as to be used again.

- State THREE classifications of surgical instruments/devices according the Spaulding System.									(6 Marks)

- Describe any SEVEN methods used in decontaminating and reprocessing instruments in theatre.									(14 Marks)