# 091206T4PTT

# PERIOPERATIVE THEATRE TECHNOLOGY LEVEL 6

HE/OS/TT/CR/02/6/A

PREVENT NOSOCOMIAL INFECTIONS

March. /April. 2023

THE KENYA NATIONAL EXAMINATIONS COUNCIL

PRACTICAL ASSESMENT

Time: 45 minutes

INSTRUCTIONS TO THE ASSESSOR

- You are required to mark the practical task as the candidate performs the task.

- You are required to take video clips at critical points.

- Ensure that the candidate has a name tag and a registration code at the back and front.

©2023 The Kenya National Examination Council

OBSERVATIONAL CHECKLIST

| Candidate’s name & Registration No. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Assessor’s name & Reg. code |  |  |  |  |  |
| Unit of Competency |  |  |  |  |  |
| Venue of Assessment |  |  |  |  |  |
| Date of assessment |  |  |  |  |  |
| Items to be evaluated: Award marks appropriately as guided for in the items for evaluation indicated. Give a brief comment where necessary |  | Marks Available |  | Marks Obtained | Comments |
| - Performed social hand washing (Award 1 mark or zero) |  | 1 |  |  |  |
| - Donned appropriate PPEs: - Clean gloves - Surgical face mask - Disposable plastic apron - Theatre boots - Safety goggles (Award 1 mark for each or zero) |  | 5 |  |  |  |
| - Labelled the four buckets including the date of preparation and date of expiry of the solution - JIK/Sodium hypochlorite - Clean water - Soapy water - Clean water (Award 1 mark for each well labelled (to include preparation and expiry dates) bucket or 0) |  | 4 |  |  |  |
| - Prepared the decontaminant solution according to the manufacturer’s instructions (Award 2 marks or 0 for correct reconstitution) |  | 2 |  |  |  |
| - Soaked instruments in decontaminant solution for 15 minutes NB: The assessor should prompt the candidate to proceed with the next step presuming 15 minutes are over (Award 1 mark or zero if the candidate mentions the correct waiting time) |  | 1 |  |  |  |
| - Rinsed the instruments in clean water (Award 1 mark or zero) |  | 1 |  |  |  |
| - Cleaned instruments in soapy water and scrubbed them with a soft-bristled brush (Award 1 mark or zero) |  | 1 |  |  |  |
| - Rinsed instruments in clean water (Award 1 mark or zero) |  | 1 |  |  |  |
| - Wiped the instruments dry or left them to air dry (Award 1 mark or zero) |  | 1 |  |  |  |
| Assembling and packing |  |  |  |  |  |
| - Inspected instruments before packaging them for: - Soil - Stains - Functionality - Corrosion - Structural soundness (Award 1 mark for each aspect inspected to a maximum of 5) |  | 5 |  |  |  |
| - Unlocked/unhinged hinged instruments (Award 1 mark or zero) |  | 1 |  |  |  |
| - Placed a cloth towel on the bottom of the tray to prevent damage of instrument tips (Award 1 mark or zero) |  | 1 |  |  |  |
| - Turned sharp or pointed instruments downwards to prevent puncturing wrapper (Award 1 mark or zero) |  | 1 |  |  |  |
| - Disassembled instruments with movable parts (Award 1 mark or zero) |  | 1 |  |  |  |
| - Placed heavy instruments at the bottom (Award 1 mark or zero) |  | 1 |  |  |  |
| - Used an appropriate technique to wrap (Award 1 marks or 0) |  | 1 |  |  |  |
| - Double wrapped/single-wrapped the set according to the specifications of the wrapper and SOPs (Award 1 mark or zero) |  | 1 |  |  |  |
| - Labelled the set using the sterilization tape according to standard operating procedures - Date of processing - Name of the item/set - Initials of the packaging staff - Department to receive the set/item (Award 1 marks for each correct labelling or 0) |  | 4 |  |  |  |
| - Disposed waste appropriately (Award 1 mark or zero) |  | 1 |  |  |  |
| - Completed the necessary documentation (Award 1 mark or zero) |  | 1 |  |  |  |
| Total |  | 35 |  |  |  |
| The candidate was found to be: Competent Not yet competent (Please tick as appropriate) The candidate is competent if s/he gets 50% and above. |  |  |  |  |  |
| Feedback from candidate: |  |  |  |  |  |
| Feedback to candidate: |  |  |  |  |  |
| Candidate’s signature: | Date: |  |  |  |  |
| Assessor’s signature: | Date: |  |  |  |  |