091206T4PTT

PERIOPERATIVE THEATRE TECHNOLOGY LEVEL 6

HE/OS/TT/CR/03/6/A

MAINTAIN PERIOPERATIVE THEATRE INSTRUMENTS AND APPARATUS

Nov. /Dec. 2022

THE KENYA NATIONAL EXAMINATIONS COUNCIL

WRITTEN ASSESSMENT

Time: 3 hours

## INSTRUCTIONS TO CANDIDATES

Maximum marks for each question are indicated in brackets ( ).

This paper consists of TWO sections: A and B.

Answer questions as per instructions in each section.

You are provided with a separate answer booklet.

This paper consists of THREE (3) printed pages

Candidates should check the question paper to ascertain that all pages are printed as indicated and that no questions are missing

SECTION A:  40 MARKS

Attempt all questions in this section

- State four (4) personal protective equipment a theatre technologist should wear in theatre

(4 marks)

- Highlight four (4) tools used in assembling of theatre equipment and instruments

(4 marks)

- State four (4) classification of instruments used in theatre 			(4 marks)

- Outline four (4) key items a theatre technologist should indicate on packs before sterilization. 									(4 marks)

- State three (3) reasons a theatre technologist would disassemble instruments with multiple parts in theatre. 							(3 marks)

- Highlight five (5) factors that determine the choice of sterilization packaging material

(5 marks)

- Name two (2) types  indicators used in  sterilization process in theatre	 (2 marks)

- State four (4) guidelines a theatre technologist should  follow when loading  packs in sterilization chamber during steam sterilization 				(4 marks)

- Highlight four (4) benefits of proper documentation when maintaining theatre instruments and apparatus 							(4 marks)

- Outline two (2) factors to consider when arranging packs in sterilizing chambers

(2 marks)

- Identify four (4) instances sterilized items should be considered unsterile	(4 marks)

SECTION B: 60 MARKS

Attempt any three questions in this section, each question is 20 marks

- A theatre technologist must always be aware of the important role instrument inspection plays in positive patient outcomes. Describe ten (10) basic instrument inspection principles					                                                       (20marks)

- The management of health-care waste requires increased attention and diligence to avoid adverse health outcomes to patients, staff and public.

- Define medical waste 							(2 marks)

- Explain five (5) benefits of proper waste disposal  			(10 marks)

- Describe waste segregation in theatre  giving examples 			(8 marks)

- Proper documentation and report writing is key in maintenance of theatre instruments and apparatus .Describe ten (10) principles of good report writing.		(20 marks)

- Proper decontamination and storage of theatre instruments is key in maintenance of theatre instruments and apparatus

- Briefly describe the decontamination process using chlorine solution 	(5marks)

- Describe five  (5) guidelines in storage of sterilized items 		(10 marks)

- State five (5) responsibilities of  a theatre technologist when dealing with dysfunctional  instruments in the theatre 					(5 marks)