091205T4PTT

PERIOPERATIVE THEATRE TECHNOLOGY LEVEL 5

HE/OS/TT/CR/04/5/A

PROVIDE PERIOPERATIVE THEATRE TECHNICAL SERVICES

Nov. /Dec. 2022

THE KENYA NATIONAL EXAMINATIONS COUNCIL

PRACTICAL ASSESSMENT

INSTRUCTIONS TO THE ASSESOR

- You are required to mark the practical as the candidate performs the tasks.

- You are required to take video clips at critical points.

- Ensure the candidate has an identification tag pinned at the back and front near the shoulders showing Candidate’s name and registration code.

- This assessment requires the candidate to:

- Check the functionality of the respiratory functions of a mechanical ventilator

- Allocate 30 minutes for the candidate to perform the tasks.

- They should answer the questions in English.

OBSERVATION CHECKLIST

| Candidate’s name & Registration No. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessor’s name & Reg. code |  |  |  |  |
| Unit(s) of Competency | Provide Perioperative Theatre Technical Services |  |  |  |
| Venue of Assessment | Skills laboratory |  |  |  |
| Date of assessment |  |  |  |  |
| (Indicate the marks available and marks obtained respectively. Award marks appropriately as guided for in the items for evaluation indicated. Give a brief comment where necessary) |  |  |  |  |
| Items to be evaluated: | Marks available |  | Marks obtained | Comments |
| - Performed a social hand wash (award 1 mark or 0) | 1 |  |  |  |
| - Assembled the necessary supplies (award 1 mark or 0) | 1 |  |  |  |
| - Assessed the power extension cable for breakages and connected it to the main power source before switching on the power from the main source. (award 1 mark or 0 for each; max of 3) | 3 |  |  |  |
| - Connected the ventilator to power source (award 1 mark only if the candidate connects the ventilator to extension cable; NOT directly to the main power source) | 1 |  |  |  |
| - Attached the ventilator testing tubing between the inspiratory and expiratory ports (award 2 marks or 0) | 2 |  |  |  |
| - Connected the breathing tube to the gas flow inlet (award 1 mark or 0) | 1 |  |  |  |
| - Switched on the main button of the ventilator and allowed it to reflect the default screen (award 1 mark or 0) | 1 |  |  |  |
| - Attached a test lung to the ventilator (award 2 marks or 0 | 2 |  |  |  |
| - Pressed the menu button and interacted with different settings to check functionality on both volume and pressure control modes (award 3 marks for each mode test or 0) NB: The assessor should check if a candidate is able to perform different adjustments without penalizing them for inaccurate settings | 6 |  |  |  |
| - Disconnected the test lung (award 1 mark or a 0) | 1 |  |  |  |
| - Turned the ventilator off and disconnected it from power source. (award 1 mark for each or a 0) | 2 |  |  |  |
| - Performed a social hand wash (award 1 mark or 0) | 2 |  |  |  |
| - Documented what was done with details on functionality of the machine (award 2 marks or 0) | 2 |  |  |  |
| TOTAL MARKS | 25 |  |  |  |
| The candidate was found to be: Competent Not yet competent (Please tick as appropriate) (The candidate is competent if s/he gets 12.5 items or higher equivalent to 50% or higher.) |  |  |  |  |
| Feedback from candidate: |  |  |  |  |
| Feedback to candidate: |  |  |  |  |
| Candidate’s signature: | Date: |  |  |  |
| Assessor’s signature: | Date: |  |  |  |