# 091906T4HRI

HEALTH RECORDS AND INFORMATION TECHNOLOGY LEVEL 6

HE/OS/HR/CC/04/6/A

APPLY MEDICAL INSTRUMENTATION

Nov. /Dec. 2022

THE KENYA NATIONAL EXAMINATIONS COUNCIL

WRITTEN ASSESSMENT

Time: 3 hours

## INSTRUCTIONS TO CANDIDATES

Maximum marks for each question are indicated in brackets ( ).

This paper consists of TWO sections: A, and B.

Answer questions as per instructions in each section.

You are provided with a separate answer booklet.

This paper consists of THREE (3) printed pages

Candidates should check the question paper to ascertain that all pages are printed as indicated and that no questions are missing

SECTION A: (40 MARKS)

Answer ALL questions in this section

- State four types of quality control that may be useful in ensuring availability of quality medical devices. 		(4marks)

- State four 4 medical equipment found in radiology department.		(4marks)

- Outline four major uses of a microscope in a hospital		(4marks)

- State four elements that manufacturer need to include in quality assurance checklist when manufacturing medical instruments 			(4marks)

- Name 	four parameters of patient monitor				(4marks)

- A patient comes to the hospital for blood pressure test.  The readings indicate 120mmHg/90mmHg.  Interpret results for the patient. 			 (4marks)

- Recall four details  an accurate and complete medical note from doctor comprise 										(4marks)

- Outline four examples of clinical conditions				(4marks)

- Highlight any four results a hospital will get if it fails to adhere to maintenance policy									(4marks)

- Outline four principles of quality testing for medical devices		(4marks)

SECTION B: (60 MARKS)

Answer any THREE questions in this section

## George is trained in both Health records and nursing field. He plans to set up a private hospital that has a functional ICU.  Describe any five equipment that George will need giving their uses 					(20marks)

- There are a number of risks for medical device users. When buying the device, the users need to have risk management knowledge. Giving an example in each case, describe five reasons why risk management is important as far as medical devices is concerned. 								(20marks)

- Since 2020, covid-19 pandemic has had a negative impact on healthcare including infection of the healthcare workers. One of the measures being taken by the government to protect healthcare workers from infection is provision of PPEs.  Discus any five PPEs that the government has been providing to safeguard the healthcare workers.							(20marks)

- Mike wants to partner with Paul to start a hospital to offer all the services. They plan to start with buying medical equipment. Discuss any five factors to consider before they purchase any equipment.					 (20marks)